(

Incorporating Voltage/Reactive Representation to Short-Term Generation Scheduling Models

Leonardo Nepomuceno Member, IEEE,  Aurélio R. L. Oliveira Member, IEEE,                         Takaaki Ohishi Member, IEEE, Secundino Soares Filho

Abstract—This paper proposes a methodology to incorporate voltage/reactive representation to Short Term Generation Scheduling (STGS) models, which is based on active/reactive decoupling characteristics of power systems. In such approach STGS is decoupled in both Active (AGS) and Reactive (RGS) Generation Scheduling models. AGS model establishes an initial active generation scheduling through a traditional dispatch model. The scheduling proposed by AGS model is evaluated from the voltage/reactive points of view, through the proposed RGS model. RGS is formulated as a sequence of T nonlinear OPF problems, solved separately but taking into account load tracking between consecutive time intervals. This approach considerably reduces computational effort to perform the reactive analysis of the RGS problem as a whole. When necessary, RGS model is capable to propose active generation redispatches, such that critical reactive problems (in which all reactive variables  have been insufficient to control the reactive problems) can be overcome. The formulation and solution methodology proposed are evaluated in the IEEE30 system in two case studies. These studies show that the methodology is robust enough to incorporate reactive aspects to STGS problem.

Index Terms--Short term Generation Scheduling, Economic Dispatch, Generation Dispatch, Optimal Power Flow.

# Introduction

S

hort Term Generation Scheduling (STGS) aims to determine a power production planning for active power generation of thermal and hydraulic units over a short term period (typically one day to one week). For dominant hydro systems this short term power production planning is concerned with optimal discretization of generation targets proposed by higher level (medium/long term) planning models.

The optimal generation scheduling provided by STGS models is a set point for on-line operation. On-line applications are concerned with both security and optimization of the system. In on-line studies operational aspects of the electric system are critical, especially those associated with the system security, such as voltage/reactive aspects. Thus, it is highly desirable to include in STGS models as many aspects associated to the transmission system as possible. Aspects associated with the representation of  reactive power in STGS problems are discussed in [1], and the quest for new models is also depicted.

Computational effort is greatly enlarged when voltage/reactive constraints are incorporated to STGS models. Thus, most STGS models proposed in the literature totally ignore such reactive constraints or adopt some kind of simplification in the representation of the transmission system. In the classic economic dispatch [2] transmission system is represented as a single bus. In the works [3]-[5] the transmission system is represented by network flow or DC load flow equations. Some models proposed in the literature represent active and reactive portions of the network. One of the first formulation is presented by Bonaert et. all in [6]. In such work the hydroelectric as well as the transmission system are modeled in detail. In the solution methodology adopted a decomposition is performed in terms of hydroelectric and thermoelectric sub-problems. The works presented by Nanda [7] and Luo [8] deal basically with the same problem but using different solution methodologies. Another class of problems trying to improve the representation of the transmission system in the STGS problem is Hydrothermal Optimal Power Flow (HOPF)[9], which is Optimal Power Flow (OPF) incorporating dynamic constraints (such as generation targets established by medium/long term models). Some other extensions of this approach have been successfully studied recently [10][11]. A large scale HOPF is discussed in [12].

This work presents a new approach to the STGS problem aiming to incorporate detailed active and reactive aspects of the transmission and generation systems. In the proposed approach, STGS problem is decoupled in two sub-problems: Active (AGS) and Reactive (RGS) Generation Scheduling models. AGS is a traditional dispatch model in which reactive aspects are totally neglected. All dynamic constraints such as ramp rate and generation targets (for hydraulic units) are introduced in AGS model. These constraints greatly enlarge computational  effort to solve the problem, and so, are left to AGS model, which is simpler and less time consuming

The incorporation of all voltage/reactive aspects are performed by RGS model here proposed. RGS is a multi-objective problem and is concerned with minimization of generation and transmission losses and also with minimum deviation from a previous dispatch policy established by AGS model solution. RGS is formulated as a sequence of  T (number of time intervals) OPF independent problems solved separately, but taking into account load tracking between consecutive time intervals; This approach considerably reduces computational effort to solve RGS model.

The solution process for the STGS model here proposed is based on interaction between AGS and RGS solutions (see Figure 1).  Initially RGS model seeks for a purely reactive dispatch maintaining unaltered the generation scheduling proposed by AGS model. If this reactive dispatch is found to be inadequate for some time interval , RGS model is capable to propose a new generation scheduling that, for such interval, would be feasible from both active and reactive aspects. It is not common in the literature to re-program the active generation to cope with reactive problems; those problems are generally solved using reactive controls. However, the situation evaluated in this paper is a critical one, in which the use of all reactive controls (calculated by OPF model) failed to provided a feasible reactive scheduling. The re-programming of active generation scheduling to cope with problems associated with reactive power flows is analyzed in the context of deregulated electric systems in [14]. If RGS proposes a new dispatch for some time interval, the dynamic constraints, which are completely neglected in  RGS model, may be violated. Thus, it is necessary to redispatch all other time intervals to guarantee that these constraints will not be violated; this task is once more performed by AGS model. Thus, in the methodology proposed here, the solution to the STGS problem is obtained by interacting the solutions obtained by AGS and RGS models. The results presented in this work show that voltage/reactive aspects can easily be incorporated to traditional purely active STGS models through the decoupled approach proposed.

This work is organized as follows. In section II a typical AGS model is described. In section III the proposed RGS model is formulated. Section IV describes the proposed solution technique for RGS model. The decoupled solution methodology, involving AGS and RGS is described in section V. Section VI presents numerical results and final conclusions are depicted in section VII.

# Active Generation Scheduling Problem

A typical Active Generation (AGS) problem is concerned with thermal and hydraulic generations and their respective operational constraints. The transmission system representation is generally simplified so that only the active generation aspects are taken into account. A simple network flow based AGS model is adopted in this work. As already discussed, the focus of this paper is on voltage/reactive aspects associated with transmission system, which is detailed in RGS model (in the next section). It is worth noting that the proposed active reactive methodology is independent on specific AGS formulation. The typical AGS here adopted is formulated as follows:

where:

- : active power generation of unit i at time interval t;

- : fixed generation target for hydraulic unit i;

- : set of hydraulic units;

- : are the active power flows at time interval t;

- : minimum and maximum active power flows ;

- : are the active power generation at time interval t;

- :minimum and maximum active generation ;

- : are the active power loads at time interval t;

- : is the nodal  incidence matrix;

- : is the reactance matrix;

- T : set of time intervals

Constraints (1.1) represent the generation targets (it is written in terms of active power generation instead of energy). Constraints (1.2) represent lower and upper active power flow limits in all system branches. Constraints (1.3) represent lower and upper active power generation limits for all units. Constraints (1.4) and (1.5) represent load flow equation. The criterion adopted is the loss minimization for hydraulic generation and the transmission system. Such criterion was proposed in [13].

The solution methodology adopted in this paper to solve AGS is based on interior point methods. This methodology is beyond the scope of this work. This paper focuses on the reactive aspects of the STGS problem and on its inter-relation with purely active power dispatch models.

# Reactive Generation Scheduling (RGS) Model

RGS model is concerned with the evaluation of reactive capabilities for generation and transmission systems. The prime objective of such model is to determine whether the active power dispatch fixed by AGS models is adequate from the reactive power perspective. The first task for RGS model is to fix the generation scheduling proposed by AGS models and calculate a daily optimal reactive dispatch for all reactive variables (voltages on controllable buses, transformer taps, reactive generation, etc.). For a given period of the day, this task may be performed by Optimal Power Flow (OPF) models. If the dispatch proposed by the AGS model is found to be inadequate, the second task for RGS model is to seek for a new daily generation dispatch which would be feasible with respect to both active and reactive power flows in the transmission and generation systems. This second task may also be performed through an OPF model in which the active power for all generating units are delivered. RGS model is thus generically formulated as T (number of time intervals of the STGS problem) OPF problems, as follows.

where:

- : is the vector of optimization variables at time interval t.

- : vector of voltage magnitudes;

- : vector of voltage angles;

- : vector of transformer taps;

- : vector of active power generation for all units;

- : vector of shunt devices (capacitors and reactors);

- reactive power generation of unit i at time interval t

- : set of all generating units

- : vectors of lower and upper limits for x.

- : minimum and maximum reactive power generation at bus i

RGS is a multi-objective problem. is a linear combination of the following criteria: nonlinear transmission system losses, quadratic generation losses for hydraulic units [13], quadratic generation costs for thermal units and also a quadratic weighted deviation on active power generation (hydro and thermal units) from specified values. In each time interval AC load flow equations for the transmission system are represented by (2.1). The limits on variables are established by equation 2.2 in each time interval. The nonlinear functional constraint 2.3 establishes the limits  on reactive power generation for all reactive sources.

It is worth noting that RGS model does not present any dynamic coupling. This means that the objective function is additive separable in time domain. Thus, RGS problem described above can be formulated as a sequence of T independent OPF problems. If the power generation is fixed at a certain interval, only a reactive dispatch is calculated (first task). If the generation is delivered, an active/reactive dispatch is calculated (second task).

# Solution Technique For RGS Model

RGS model is composed of T independent OPF problems. Although these OPF problems are independent, RGS is solved as a unique problem. A hybrid solution technique is adopted to solve each OPF model. In the OPF solution process, constraints in variables are treated through penalty functions [15][16] and functional constraints associated with reactive power generation are treated using parameterizations techniques [17]. Thus, for a specific time interval t one OPF problem is solved. The OPF problem is solved through a basic Newton algorithm applied to a sequence of modified OPF problems () This sequence of problems is defined by (4) as follows.

(4)

In (4) inequality constraints are handled through parameterization techniques, where:

(5)

- is the solution to sub-problem

- are the reactive generation functions calculated for the set of infeasible functional constraints detected in the solution for sub-problem

- is a parameter varying from 0.0 to 1.0

- are the reactive generation limits (maximum or minimum values) for infeasible functional constraints (detected in the solution for sub-problem )

Constraints in optimization variables are handled through penalty functions , given by equation (6).

(6)

- : set of violated variables in the solution to sub-problem

- is the upper or lower limit in variable

- is a weighting factor

The initial subproblem  is relaxed with respect to functional constraints and is described in (7)

(7)

The solution to the modified problem given by (4) constitutes a series of parameterized problems starting from an arbitrary point. In each iteration infeasible reactive generation constraints are incorporated to the problem through homotopy function and infeasible constraints in variables are incorporated through quadratic penalty functions. The parameterized problems are solved varying the parameter ( from 0.0 to 1.0. This is equivalent to follow the path defined by the points  such that:

For a given ( the Lagrangian function of the problem is written as:

- is the vector of Lagrange multipliers associated with equality constraints (4.1)

- is the vector of Lagrange multipliers associated with equality constraints (4.2)

Necessary optimality conditions correspond to the stationary point to the Lagrangian function. The first order necessary conditions for the sequence of problems is solved by the Newton method. General algorithm is detailed in [17].

# Decoupled Solution Methodology applied to STGS Model

In the approach proposed STGS problem is solved interacting the solutions provided by AGS and RGS models as shown is figure 1. The basic algorithm for such approach is summarized on the following steps:

- AGS is solved taking into account generation targets. The solution of such model provides an initial generation scheduling: active generation dispatches are calculated for each thermal and hydraulic unit at each time interval.

- The active generation scheduling calculated in 1. is fixed and RGS model is solved so that a purely reactive dispatch is calculated for each time interval. If this reactive dispatch is feasible (no active or reactive constraint is violated in any time interval) then stop. This is a feasible solution to STGS; If otherwise the dispatch is unfeasible in any time interval go to 3.

- A new active generation scheduling must be set to the time intervals presenting unfeasible dispatches (calculated in item 2.). This scheduling is obtained releasing the active power generation in the RGS model solution. In other words, RGS model tries to calculate a new active/reactive generation dispatch such that a feasible solution is obtained. This procedure is repeated for all time intervals presenting unfeasible solutions. These critical time intervals are generally the ones presenting heavy load conditions (voltage levels tend to become down). Go to 4. If RGS model is not capable to obtain such feasible solution, the methodology can not obtain a solution to STGS problem. Stop.

- The rescheduling calculated in 3. by RGS model (for certain time intervals) may have violated dynamic constraints (generation target or ramp rate constraint). AGS model is once more used to deal with these constraints. In this solution process the active generation of all critical time intervals re-programmed in step 3. are fixed and the active generation of all other time intervals are re-programed, so that the dynamic constraints are satisfied. After this rescheduling we get back to step 2. to obtain a new reactive power dispatch and the process is repeated.

Note that by the solution methodology proposed the voltage/reactive evaluation is introduced in STGS only in specific critical time intervals. For such intervals the generation dispatch is performed in a coupled way using RGS model as an active/reactive power dispatch tool. This approach reduces computational effort to solve the whole STGS problem.

# Numerical Results

The proposed methodology was applied to IEEE 30 bus  system. A hydroelectric generation system has been adapted to such system. Two case studies are presented as follows differing only by the daily load profile adopted. In the first study, the daily load profile is less heavy. In the second study such load profile is made heavier such that critical load conditions can be studied. The basic objectives of these studies are to evaluate the coupling details between active and reactive

dispatch, to analyze the adequacy of the adopted decomposition, and also to highlight the importance of the reactive aspects in STGS models.

In the first case, a less heavy daily profile is adopted. Following the solution methodology algorithm described in section VI an initial AGS study was performed. The active generation dispatch provided by this study is presented in the column "Generation MW" of Table 1. The generation targets for each unit are also depicted in the bottom of each generation column.

TABLE I

Solution to AGS/RGS – Case I

In the AGS solution these targets are satisfied. Fixing this active generation dispatch, a RGS study was performed. As the generation dispatch is fixed, only a reactive dispatch is provided by the RGS model. This reactive study is also depicted in Table 1. The violated constraints on the solution provided by RGS model are shown in columns "MW" (active generation), "V" (voltage magnitude), "C" (capacitors and reactor banks) and "TP" (transformer taps). Those violations are shown for each time interval "t". The same symbols above are used to show the number of binding constraints. The reactive generation binding constraints given by the column "Mvar" are also shown in the Table. As is shown is Table 1. the active generation dispatch has been evaluated by RGS model and no active or reactive limit is violated. From the proposed methodology this initial generation dispatch is a feasible final solution to the STGS model. Thus the active dispatch provided by Table 1. are the final dispatches to  be implemented in the generating units. In this less heavy load condition there has not been the need to establish iteration between AGS and RGS models.

In the second case study the load profile was made heavier. Following the proposed methodology algorithm an initial AGS study was performed. The active generation dispatch is shown in the columns "Generation MW" for each unit in Table 2. Fixing this active generation dispatch, a RGS study was performed. As the generation dispatch is fixed, only a reactive dispatch is provided by the RGS model. The solution to the RGS model is also provided in Table 2. The symbols used in Table 2. are the same used in Table I. It is clear from the table that some voltage magnitude and tap transformer values are violated in time intervals 18:00 and 19:00.

As described in section IV, the RGS solution process was implemented so that the solution for a certain time interval is used as a hot-start for the solution process of the next time interval. The impact of such strategy is clearly shown in Figure 2 as follows. In this figure the number of iterations necessary to solve RGS model in each time interval is depicted. It is noticeable that the first time interval (1:00) has taken 27 iterations to provided an active/reactive generation dispatch. Using the solution obtained for such time interval as the starting point to the OPF problem for the next time interval (2:00) the number of iteration is greatly reduced. The following intervals are consecutively adjusted in the same manner such that the overall time to solve RGS model is reduced considerably. It can be noticed that time intervals 18:00, 19:00 and 20:00 required higher number of iteration. In such time intervals the variation of the solution points from one time interval to the other is greater due to active set changes.

Table II-Solution to AGS/RGS (Reactive Evaluation) - Case II

Table III – Solution to RGS (with redispatches) – case II

Once that the RGS solution present some violations in critical time intervals (18:00 and 19:00)it is necessary to establish a new active dispatch for such intervals (step 3). Thus, the active generation is released and a new RGS is performed for these time intervals. The solution of such process is shown in Table 3. The RGS model has calculated a new generation scheduling for these time intervals. It is clear that in these new scheduling the active and reactive violation problems are overcome. However, the generation targets established are unbalanced because of the redispatches in time intervals 18:00 and 19:00. It is also worth noting that these redispatches proposed by RGS model have considerably altered the initial dispatch provided by AGS model. As the generation targets are violated it is necessary to re-program all other generation scheduling so as to distribute the variations on active power generation produced by the new scheduling established for time intervals 18:00 and 19:00.

To compensate these deviations in generation targets an AGS study is again performed. As described in section V, the active dispatch in time intervals 18:00 and 19:00 are fixed and all other time intervals are re-dispatched (step 4). AGS model solution is shown in Table 4. Comparing the generation dispatches provided by Tables 3 and 4 it is worth noting that the deviations in generation targets are distributed along the time intervals of the day so that the generation scheduling of Tables 3 and 4 are similar.

Table IV- Final Solution AGS/RGS - Case II

This new generation profile was again submit to a reactive evaluation through the RGS model solution. The solution of such study is also synthesized in Table 4. In this final solution,

obtained after iterative process between AGS and RGS models solution, there is no active/reactive violation. This generation scheduling is a feasible solution to the problem STGS.

# Conclusions

This paper proposes a new approach to the Short Term Generation Scheduling (STGS) problem in which the active and reactive aspects of the transmission systems are represented in detail. The approach is based on an decoupling of STGS problem into the Active Generation Scheduling (AGS) and the Reactive Generation Scheduling (RGS) problems. Such decomposition scheme takes advantage of two basic aspects: the active-reactive decoupling characteristics of power system; and the incorporation of dynamic constraints (that enlarges computational effort) only into AGS model, which is computationally less time consuming. One of the most important characteristics of the approach proposed is its ability to take into account voltage/reactive problems. Such problems are pointed out in the literature as responsible for on-line systems instabilities. The work also proposes a methodology that reduces considerably computational effort to solve RGS model. The approach can be easily implemented in dispatch centers having a traditional (active) dispatch tool and an OPF tool. The approach was applied to a test system in two case studies. Results show that the methodology is robust enough to calculate active/reactive generation dispatches that are feasible with respect to the most important operational aspects associated with generation and transmission for hydrothermal systems.

# References

- Chattopadhyay, D. "Daily Generation Scheduling: Quest for New Models", IEEE Ttrans. On Power Syst., vol 13 no. 2, pp 624 629, May 1998.

- H. H. Happ, “Optimal power dispatch -  a comprehensive survey”, IEEE Trans. Power Apparatus and Syst., vol PAS-96, n. 3, pp 841-854, 1977.

- Ohishi, T. and  Soares, S. and Carvalho, M. F. H. “A Short-Term Hydrothermal Scheduling Approach for Dominantly Hydro Systems”,  IEEE Trans on Power Syst. vol. 6,. n.2,  May, 1991.

- Ohishi, T. and Soares, S. "Hydro-Dominated Short-Term Hydrothermal Scheduling Via a Hybrid Simulation – Optimisation Approach: a Case Study", IEE Proc. – C, vol. 142, no. 6, pp 569-575, November, 1995.

- Irissari, G. and Kimball, L. M. and Clements, K. A. and Bagchi, A. and Davis, P. W., "Economic dispatch with network and ramping constraints via interior point methods", IEEE Trans on Power Syst. vol. 13,. n.1, 236-242, 1998.

- Bonaert,  A. P., and El-Abiad, A.H., Koivo and A. J. “Optimal Scheduling of Hydrothermal Power  Systems”, AIEE Trans. on Power Apparatus and System, vol. PAS-91, pp.263-271, 1971.

- Nanda, J. and Bijwe, P. R. “Optimal Hydrothermal Scheduling With Cascaded Plants Using Progressive Optimality Algorithm”, IEEE Trans on Power Apparatus and Systems, Vol. PAS-100, n. 4,2093-2099, 1981.

- Luo, G. X.; Habibollahzadeh, H. and Semlyen, A. “Short-Term Hydro-Thermal Dispatch Detailed Model and Solutions”, IEEE/PES  Winter Meeting, WM 169-4 PWRS, New York, 1989.

- El-Hawary, M. E. and Tsang D. H.  “The Hydrothermal Optimal Load Flow, a Practical Formulation and Solution Techniques Using Newton’s Approach”, IEEE trans. On Power Syst., vol. PWRS-1, no. 3, pp. 157- 167, August, 1986.

- Habibollahzadeh, H. ; Luo, G. X. ; Semlyen A. "Hydrothermal Optimal Power Flow Based on a Combined Linear and Non-linear Programming Methodology", IEEE/PES Summer Meeting , 1988.

- Mbamalu, G. A. N., El Hawary , F. , El-Hawary, M. E , "Effects of load Modeling on Minimum Loss, Mininmum Emission, and Multi-Objective Optimal Hydrothermal Power Flow", Electric Power Systems Research, 34 (1995) pp 97-108.

- Wei, H. , Sasaki, H. , Kubokawa, J. and Yokoyama, R. "Large Scale Hydrothermal Optimal Power Problems Based on Interior Point Nonlinear Programming", IEEE Trans. on Power Syst., vol. 15, no. 1, February, 2000.

- Soares, S. and Salmazo, C. T. “Minimum Loss Predispatch Model for Hydroelectric Power Systems” , IEEE Trans. On Power Syst., vol. 12, no. 3, pp. 1220 – 1228, August, 1997.

- Bell, K. R. W. and Kirschen, D. S. “Improved Sensitivities for MW Dispatch for Control of Voltage” , International Conference on Power Industry Computer Applications – PICA 1999.

- Sun, D.I.; Ashley B.;  Brewer,  B.; Hugues, A. and Tinney , W. F. "Optimal Power Flow by Newton Approach" , IEEE Trans. on Power Apparatus and Syst., vol. PAS 103, no. 10, October, 1984.

- Sun,, D. I. B.; Hugues, A.; Tinney,  W. F.; Bright, J. M. and Lamont, J. "Optimal Power Flow Solution by Newton's  Method", IEEE Tutorial Course Reactive Problems: Basics, Problems and Solutions,35-48,1987.

- Nepomuceno, L. and Santos Jr., A.  Equivalent Optimization Model For Loss Minimization:  Suitable Analysis Approach ; IEEE Trans. On Power Syst., vol. 12, no. 4, pp. 1403 – 1412, November, 1997.

# Footnotes

This research was partially sponsored by FAPESP (Research Supporting Foundation of the State of São Paulo, Brazil) through grant no. 97/00414-5 and CNPq (Brazilian Council for the Development of Science and Technology).

L. Nepomuceno is with State University of  São Paulo – UNESP, Bauru, SP, Brazil (e-mail: leo@feb.unesp.br )

A. R. L. Oliveira is with State University of  São Paulo – USP, São Carlos, SP, Brazil (e-mail: aurelio@densis.fee.unicamp.br )

T. Ohishi is with State University of  Campinas – UNICAMP, Campinas, SP, Brazil (e-mail: taka@densis.fee.unicamp.br )

S. Soares Filho is with State University of  Campinas – UNICAMP, Campinas, SP, Brazil (e-mail: dino@densis.fee.unicamp.br )

# Text boxes

Figure 2 – RGS Evolution

Figure 1- Decoupled AGS/RGS Solution

reprogramming

On-line Operation

Active/reactive generation

dispatch

AGS

RGS

Generation program

Medium Term

Model

DECOUPLED

MODEL

Generation Targets